## land use
| land used (acres) | [5 empty] | land budget (acres)
scenario code | scenario | A | B | C | other |  |  | total area | usable area (0–20%) | usable % (0–20%) | usable area (0–15%) | usable % (0–15%)
100_100 | 100% B 100% C | 0 | 12695.8679 | 2239.3782 | 11347.4892 |  | A | 16031.8865 | 0 | 0% | 0 | 0%
010_010 | 10% B 10% C | 0 | 2586.1532 | 1496.7506 | 17791.6953 |  | B | 25861.5322 | 17076.3753 | 66.03% | 17076.3753 | 66.03%
002_001 | 1.8% B 1.1% C | 0 | 465.5066 | 164.6427 | 18101.5652 |  | C | 14967.5057 | 6112.8134 | 40.84% | 6112.8134 | 40.84%
002_001_123 | no new wind | 0 | 465.5066 | 164.6427 | 18106.0872 |  | other | 326640.9018 | 18107.6934 | 5.544% | 18107.6934 | 5.544%
| scenario | A | B | C | other
100_100_low_slope | 100% B 100% C | 0 | 13218.3224 | 2418.9075 | 11180.0013
010_010_low_slope | 10% B 10% C | 0 | 2586.1532 | 1496.7506 | 13588.9307
002_001_low_slope | 1.8% B 1.1% C | 0 | 465.5066 | 164.6427 | 13604.8937
002_001_123_low_slope | no new wind | 0 | 465.5066 | 164.6427 | 13616.0134
grep ',2045,' outputs_*/land_class_use.csv ¦ pbcopy
load_zone | land_class | period | total_area | usable_area | allowed_area | area_used | frac_allowed | frac_used |  | lookup key
outputs_002_001/land_class_use.csv:Oahu | A | 2045 | 64878800 | 0 | 0 | 0 | 0% | 0% |  | 002_001 A
outputs_002_001/land_class_use.csv:Oahu | B | 2045 | 104658000 | 69105700 | 1883840 | 1883840 | 1.8% | 1.8% |  | 002_001 B
outputs_002_001/land_class_use.csv:Oahu | C | 2045 | 60571400 | 24737700 | 666286 | 666286 | 1.1% | 1.1% |  | 002_001 C
outputs_002_001/land_class_use.csv:Oahu | other | 2045 | 1321870000 | 73279300 | 1321870000 | 73254500 | 100% | 5.542% |  | 002_001 other
outputs_002_001_123/land_class_use.csv:Oahu | A | 2045 | 64878800 | 0 | 0 | 0 | 0% | 0% |  | 002_001_123 A
outputs_002_001_123/land_class_use.csv:Oahu | B | 2045 | 104658000 | 69105700 | 1883840 | 1883840 | 1.8% | 1.8% |  | 002_001_123 B
outputs_002_001_123/land_class_use.csv:Oahu | C | 2045 | 60571400 | 24737700 | 666286 | 666286 | 1.1% | 1.1% |  | 002_001_123 C
outputs_002_001_123/land_class_use.csv:Oahu | other | 2045 | 1321870000 | 73279300 | 1321870000 | 73272800 | 100% | 5.543% |  | 002_001_123 other
outputs_002_001_123_low_slope/land_class_use.csv:Oahu | A | 2045 | 64878800 | 0 | 0 | 0 | 0% | 0% |  | 002_001_123_low_slope A
outputs_002_001_123_low_slope/land_class_use.csv:Oahu | B | 2045 | 104658000 | 65335300 | 1883840 | 1883840 | 1.8% | 1.8% |  | 002_001_123_low_slope B
outputs_002_001_123_low_slope/land_class_use.csv:Oahu | C | 2045 | 60571400 | 20783400 | 666286 | 666286 | 1.1% | 1.1% |  | 002_001_123_low_slope C
outputs_002_001_123_low_slope/land_class_use.csv:Oahu | other | 2045 | 1321870000 | 55102100 | 1321870000 | 55102100 | 100% | 4.169% |  | 002_001_123_low_slope other
outputs_002_001_low_slope/land_class_use.csv:Oahu | A | 2045 | 64878800 | 0 | 0 | 0 | 0% | 0% |  | 002_001_low_slope A
outputs_002_001_low_slope/land_class_use.csv:Oahu | B | 2045 | 104658000 | 65335300 | 1883840 | 1883840 | 1.8% | 1.8% |  | 002_001_low_slope B
outputs_002_001_low_slope/land_class_use.csv:Oahu | C | 2045 | 60571400 | 20783400 | 666286 | 666286 | 1.1% | 1.1% |  | 002_001_low_slope C
outputs_002_001_low_slope/land_class_use.csv:Oahu | other | 2045 | 1321870000 | 55102100 | 1321870000 | 55057100 | 100% | 4.165% |  | 002_001_low_slope other
outputs_010_010/land_class_use.csv:Oahu | A | 2045 | 64878800 | 0 | 0 | 0 | 0% | 0% |  | 010_010 A
outputs_010_010/land_class_use.csv:Oahu | B | 2045 | 104658000 | 69105700 | 10465800 | 10465800 | 10% | 10% |  | 010_010 B
outputs_010_010/land_class_use.csv:Oahu | C | 2045 | 60571400 | 24737700 | 6057140 | 6057140 | 10% | 10% |  | 010_010 C
outputs_010_010/land_class_use.csv:Oahu | other | 2045 | 1321870000 | 73279300 | 1321870000 | 72000500 | 100% | 5.447% |  | 010_010 other
outputs_010_010_low_slope/land_class_use.csv:Oahu | A | 2045 | 64878800 | 0 | 0 | 0 | 0% | 0% |  | 010_010_low_slope A
outputs_010_010_low_slope/land_class_use.csv:Oahu | B | 2045 | 104658000 | 65335300 | 10465800 | 10465800 | 10% | 10% |  | 010_010_low_slope B
outputs_010_010_low_slope/land_class_use.csv:Oahu | C | 2045 | 60571400 | 20783400 | 6057140 | 6057140 | 10% | 10% |  | 010_010_low_slope C
outputs_010_010_low_slope/land_class_use.csv:Oahu | other | 2045 | 1321870000 | 55102100 | 1321870000 | 54992500 | 100% | 4.16% |  | 010_010_low_slope other
outputs_100_100/land_class_use.csv:Oahu | A | 2045 | 64878800 | 0 | 0 | 0 | 0% | 0% |  | 100_100 A
outputs_100_100/land_class_use.csv:Oahu | B | 2045 | 104658000 | 69105700 | 104658000 | 51378400 | 100% | 49.09% |  | 100_100 B
outputs_100_100/land_class_use.csv:Oahu | C | 2045 | 60571400 | 24737700 | 60571400 | 9062450 | 100% | 14.96% |  | 100_100 C
outputs_100_100/land_class_use.csv:Oahu | other | 2045 | 1321870000 | 73279300 | 1321870000 | 45921700 | 100% | 3.474% |  | 100_100 other
outputs_100_100_low_slope/land_class_use.csv:Oahu | A | 2045 | 64878800 | 0 | 0 | 0 | 0% | 0% |  | 100_100_low_slope A
outputs_100_100_low_slope/land_class_use.csv:Oahu | B | 2045 | 104658000 | 65335300 | 104658000 | 53492700 | 100% | 51.11% |  | 100_100_low_slope B
outputs_100_100_low_slope/land_class_use.csv:Oahu | C | 2045 | 60571400 | 20783400 | 60571400 | 9788980 | 100% | 16.16% |  | 100_100_low_slope C
outputs_100_100_low_slope/land_class_use.csv:Oahu | other | 2045 | 1321870000 | 55102100 | 1321870000 | 45243900 | 100% | 3.423% |  | 100_100_low_slope other
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!

## cost, rps and biofuels
[17 empty] | year | 2020 | 2023 | 2025 | 2030 | 2035 | 2040 | 2045
[17 empty] | RPS target | 30% | 30% | 30% | 40% | 40% | 70% | 100%
[16 empty] | 002_001_123 | 2% B / 1% C 123 MW wind | 0.3 | 0.36993 | 0.46271 | 0.61704 | 0.72869 | 0.81624 | 1
[16 empty] | 002_001 | 2% B / 1% C 150 MW wind | 0.3 | 0.36974 | 0.46312 | 0.69055 | 0.75893 | 0.82591 | 1
[16 empty] | 010_010 | 10% B / 10% C 150 MW wind | 0.3 | 0.37076 | 0.46509 | 0.70615 | 0.76882 | 0.82565 | 1
[16 empty] | 100_100 | 100% B / 100% C 150 MW wind | 0.3 | 0.37067 | 0.46502 | 0.70747 | 0.77526 | 0.80504 | 1
[16 empty] | 002_001_123_low_slope | 2% B / 1% C 123 MW wind | 0.3 | 0.36786 | 0.46057 | 0.66026 | 0.69768 | 0.79159 | 1
[16 empty] | 002_001_123_low_slope | 2% B / 1% C 123 MW wind | 0.3 | 0.36786 | 0.46057 | 0.66026 | 0.69768 | 0.79159 | 1
[16 empty] | 010_010_low_slope | 10% B / 10% C low MW wind | 0.3 | 0.36882 | 0.46268 | 0.63164 | 0.69218 | 0.80273 | 1
[16 empty] | 100_100_low_slope | 100% B / 100% C low MW wind | 0.3 | 0.36886 | 0.46315 | 0.7073 | 0.77782 | 0.80423 | 1
labels
0–20% slope allowed
0–15% slope allowed
(grep max outputs_100_100/summary_*.csv && grep --no-filename -v max outputs_???_???{,_123}/summary*.csv ¦ sort -r) ¦ pbcopy
(grep max outputs_100_100/summary_*.csv && grep --no-filename -v max outputs_???_*_low_slope/summary*.csv ¦ sort -r) ¦ pbcopy
limit | scenario | max_demand_response_share | total_cost | cost_per_kwh | cost_per_kwh_2020 | cost_per_kwh_2023 | cost_per_kwh_2025 | cost_per_kwh_2030 | cost_per_kwh_2035 | cost_per_kwh_2040 | cost_per_kwh_2045 | cost_per_kwh_2050 | renewable_share_all_years | renewable_share_2020 | renewable_share_2023 | renewable_share_2025 | renewable_share_2030 | renewable_share_2035 | renewable_share_2040 | renewable_share_2045 | renewable_share_2050 | biofuel_share_all_years | biofuel_share_2020 | biofuel_share_2023 | biofuel_share_2025 | biofuel_share_2030 | biofuel_share_2035 | biofuel_share_2040 | biofuel_share_2045 | biofuel_share_2050
100% B 100% C | 100_100 | 0.1 | 26190510910.5062 | 0.13798 | 0.14962 | 0.15524 | 0.15268 | 0.14176 | 0.14074 | 0.13489 | 0.1178 | 0.10494 | 0.74873 | 0.3 | 0.37067 | 0.46502 | 0.70747 | 0.77526 | 0.80504 | 1 | 1 | 0.013992 | 0.02842 | 9.8721e-05 | 0 | 9.973e-06 | 0.00013238 | 0.00011593 | 0.040307 | 0.032535
10% B 10% C | 010_010 | 0.1 | 26334062791.4005 | 0.13873 | 0.14959 | 0.15527 | 0.15239 | 0.14195 | 0.14107 | 0.13438 | 0.12011 | 0.11 | 0.75005 | 0.3 | 0.37076 | 0.46509 | 0.70615 | 0.76882 | 0.82565 | 1 | 1 | 0.023336 | 0.028435 | 0 | 0 | 8.1077e-05 | 0.00010467 | 0.00011928 | 0.058084 | 0.071821
1.8% B 1.1% C | 002_001 | 0.1 | 26559329495.7783 | 0.13992 | 0.14957 | 0.15532 | 0.15265 | 0.14265 | 0.14171 | 0.13516 | 0.12397 | 0.11388 | 0.74564 | 0.3 | 0.36974 | 0.46312 | 0.69055 | 0.75893 | 0.82591 | 1 | 1 | 0.027108 | 0.028409 | 9.5564e-05 | -1.9915e-16 | 0 | 0.00049029 | 9.2432e-05 | 0.085937 | 0.068536
1.8% B 1.1% C no new wind | 002_001_123 | 0.1 | 26577871176.596 | 0.14002 | 0.14956 | 0.15541 | 0.15023 | 0.14362 | 0.14335 | 0.1368 | 0.12418 | 0.11299 | 0.73009 | 0.3 | 0.36993 | 0.46271 | 0.61704 | 0.72869 | 0.81624 | 1 | 1 | 0.028787 | 0.02844 | 0 | 0 | 0 | 0 | 5.6602e-05 | 0.080107 | 0.084319
| scenario | max_demand_response_share | total_cost | cost_per_kwh | cost_per_kwh_2020 | cost_per_kwh_2023 | cost_per_kwh_2025 | cost_per_kwh_2030 | cost_per_kwh_2035 | cost_per_kwh_2040 | cost_per_kwh_2045 | cost_per_kwh_2050 | renewable_share_all_years | renewable_share_2020 | renewable_share_2023 | renewable_share_2025 | renewable_share_2030 | renewable_share_2035 | renewable_share_2040 | renewable_share_2045 | renewable_share_2050 | biofuel_share_all_years | biofuel_share_2020 | biofuel_share_2023 | biofuel_share_2025 | biofuel_share_2030 | biofuel_share_2035 | biofuel_share_2040 | biofuel_share_2045 | biofuel_share_2050
100% B 100% C | 100_100_low_slope | 0.1 | 26241353377.0787 | 0.13825 | 0.14968 | 0.15521 | 0.15256 | 0.14195 | 0.14092 | 0.1346 | 0.11797 | 0.10726 | 0.74836 | 0.3 | 0.36886 | 0.46315 | 0.7073 | 0.77782 | 0.80423 | 1 | 1 | 0.013949 | 0.030261 | 0 | 0 | 0 | 5.9225e-05 | 0 | 0.037218 | 0.034721
10% B 10% C | 010_010_low_slope | 0.1 | 26487682062.3449 | 0.13954 | 0.14962 | 0.15524 | 0.14975 | 0.14255 | 0.14223 | 0.13561 | 0.12394 | 0.11402 | 0.72469 | 0.3 | 0.36882 | 0.46268 | 0.63164 | 0.69218 | 0.80273 | 1 | 1 | 0.029373 | 0.030279 | 0 | 0 | 2.4613e-05 | 0.00010422 | 8.0828e-05 | 0.078811 | 0.088461
1.8% B 1.1% C | 002_001_low_slope | 0.1 | 26726482435.4463 | 0.1408 | 0.14971 | 0.15542 | 0.15003 | 0.14287 | 0.14291 | 0.13623 | 0.12879 | 0.11792 | 0.72929 | 0.3 | 0.36683 | 0.46065 | 0.66883 | 0.7045 | 0.79395 | 1 | 1 | 0.036129 | 0.030275 | 0 | 0 | 0 | 4.777e-05 | 0 | 0.10498 | 0.10495
1.8% B 1.1% C | 002_001_123_low_slope | 0.1 | 26776185874.533 | 0.14106 | 0.14964 | 0.15532 | 0.15017 | 0.14321 | 0.1434 | 0.13637 | 0.12921 | 0.11858 | 0.72683 | 0.3 | 0.36786 | 0.46057 | 0.66026 | 0.69768 | 0.79159 | 1 | 1 | 0.036686 | 0.030275 | 5.1701e-05 | 1.6772e-05 | 5.0281e-16 | 2.6016e-16 | 0 | 0.10563 | 0.10776

## capacity online
Capacity online in 2045
0-20% slope
| Thermal | Batteries | Hydro | Util-Scale PV | Dist PV | Onshore Wind | Offshore Wind | Battery MWh | Uncategorized
100% B 100% C | 972.926 | 1235.4397 | 150 | 3504.3648 | 1432.455 | 150 | 0 | 9009.2849 | 0
10% B 10% C | 972.926 | 1124.9529 | 150 | 2916.6144 | 1432.455 | 150 | 200.6201 | 7518.1804 | 0
1.8% B 1.1% C | 972.926 | 1034.7512 | 150 | 2497.5611 | 1432.455 | 150 | 237.137 | 6824.4535 | 0
1.8% B 1.1% C no new wind | 1123.512 | 983.1816 | 150 | 2498.1664 | 1432.455 | 123 | 298.5842 | 6815.9732 | 0
0–15% slope
| Thermal | Batteries | Hydro | Util-Scale PV | Dist PV | Onshore Wind | Offshore Wind | Battery MWh | Uncategorized
100% B 100% C | 972.926 | 1261.9527 | 150 | 3575.6322 | 1432.455 | 150 | 0 | 9103.1293 | 0
10% B 10% C | 1123.512 | 965.6039 | 150 | 2356.2445 | 1432.455 | 150 | 400 | 6069.8756 | 0
1.8% B 1.1% C | 1123.512 | 897.2634 | 150 | 1898.0063 | 1432.455 | 150 | 548.7921 | 4689.2649 | 0
1.8% B 1.1% C no new wind | 1123.512 | 848.788 | 150 | 1899.4875 | 1432.455 | 123 | 572.7089 | 4560.9357 | 0
(grep load_zone outputs*/capacity_by_technology_100_100.csv && grep 'Oahu,2045,' outputs_???_???{,_123}/capacity_by_technology*.csv ¦ sort -r) ¦ pbcopy
load_zone | period | AES | Airport_DSG | Battery_Bulk | Battery_Bulk_MWh | Battery_Conting | Battery_Conting_MWh | Battery_Reg | Battery_Reg_MWh | CC_152 | CIP_CT | CentralTrackingPV | DistBattery | DistBattery_MWh | FlatDistPV | H-Power | Hawaii_Cogen | IC_Barge | IC_MCBH | IC_Schofield | Kahe_1 | Kahe_2 | Kahe_3 | Kahe_4 | Kahe_5 | Kahe_6 | Kalaeloa_CC1 | Kalaeloa_CC2 | Kalaeloa_CC3 | OffshoreWind | OnshoreWind | SlopedDistPV | Tesoro_Hawaii | Waiau_10 | Waiau_3 | Waiau_4 | Waiau_5 | Waiau_6 | Waiau_7 | Waiau_8 | Waiau_9 | hydro | fuel cells
outputs_100_100/capacity_by_technology_100_100.csv:Oahu | 2045 | 0 | 8 | 985.1517 | 8008.1329 | 0 | 0 | 0 | 0 | 150.586 | 113 | 3504.3648 | 250.288 | 1001.152 | 1157.7049 | 73 | 0 | 0 | 0 | 48.84 | 0 | 0 | 0 | 0 | 134.3 | 134.4 | 90 | 90 | 28 | 0 | 150 | 274.7501 | 0 | 49.9 | 0 | 0 | 0 | 0 | 0 | 0 | 52.9 | 150 | 0
outputs_010_010/capacity_by_technology_010_010.csv:Oahu | 2045 | 0 | 8 | 874.6649 | 6517.0284 | 0 | 0 | 0 | 0 | 150.586 | 113 | 2916.6144 | 250.288 | 1001.152 | 1318.765 | 73 | 0 | 0 | 0 | 48.84 | 0 | 0 | 0 | 0 | 134.3 | 134.4 | 90 | 90 | 28 | 200.6201 | 150 | 113.69 | 0 | 49.9 | 0 | 0 | 0 | 0 | 0 | 0 | 52.9 | 150 | 0
outputs_002_001/capacity_by_technology_002_001.csv:Oahu | 2045 | 0 | 8 | 784.4632 | 5823.3015 | 0 | 0 | 0 | 0 | 150.586 | 113 | 2497.5611 | 250.288 | 1001.152 | 1101.5745 | 73 | 0 | 0 | 0 | 48.84 | 0 | 0 | 0 | 0 | 134.3 | 134.4 | 90 | 90 | 28 | 237.137 | 150 | 330.8805 | 0 | 49.9 | 0 | 0 | 0 | 0 | 0 | 0 | 52.9 | 150 | 0
outputs_002_001_123/capacity_by_technology_002_001_123.csv:Oahu | 2045 | 0 | 8 | 732.8936 | 5814.8212 | 0 | 0 | 0 | 0 | 301.172 | 113 | 2498.1664 | 250.288 | 1001.152 | 1106.5798 | 73 | 0 | 0 | 0 | 48.84 | 0 | 0 | 0 | 0 | 134.3 | 134.4 | 90 | 90 | 28 | 298.5842 | 123 | 325.8752 | 0 | 49.9 | 0 | 0 | 0 | 0 | 0 | 0 | 52.9 | 150 | 0
(grep load_zone outputs*/capacity_by_technology_100_100.csv && grep 'Oahu,2045,' outputs_???_???{,_123}_low_slope/capacity_by_technology*.csv ¦ sort -r) ¦ pbcopy
load_zone | period | AES | Airport_DSG | Battery_Bulk | Battery_Bulk_MWh | Battery_Conting | Battery_Conting_MWh | Battery_Reg | Battery_Reg_MWh | CC_152 | CIP_CT | CentralTrackingPV | DistBattery | DistBattery_MWh | FlatDistPV | H-Power | Hawaii_Cogen | IC_Barge | IC_MCBH | IC_Schofield | Kahe_1 | Kahe_2 | Kahe_3 | Kahe_4 | Kahe_5 | Kahe_6 | Kalaeloa_CC1 | Kalaeloa_CC2 | Kalaeloa_CC3 | OffshoreWind | OnshoreWind | SlopedDistPV | Tesoro_Hawaii | Waiau_10 | Waiau_3 | Waiau_4 | Waiau_5 | Waiau_6 | Waiau_7 | Waiau_8 | Waiau_9 | hydro | fuel cells
outputs_100_100_low_slope/capacity_by_technology_100_100_low_slope.csv:Oahu | 2045 | 0 | 8 | 1011.6647 | 8101.9773 | 0 | 0 | 0 | 0 | 150.586 | 113 | 3575.6322 | 250.288 | 1001.152 | 1226.0498 | 73 | 0 | 0 | 0 | 48.84 | 0 | 0 | 0 | 0 | 134.3 | 134.4 | 90 | 90 | 28 | 0 | 150 | 206.4052 | 0 | 49.9 | 0 | 0 | 0 | 0 | 0 | 0 | 52.9 | 150 | 0
outputs_010_010_low_slope/capacity_by_technology_010_010_low_slope.csv:Oahu | 2045 | 0 | 8 | 715.3159 | 5068.7236 | 0 | 0 | 0 | 0 | 301.172 | 113 | 2356.2445 | 250.288 | 1001.152 | 1236.3209 | 73 | 0 | 0 | 0 | 48.84 | 0 | 0 | 0 | 0 | 134.3 | 134.4 | 90 | 90 | 28 | 400 | 150 | 196.1341 | 0 | 49.9 | 0 | 0 | 0 | 0 | 0 | 0 | 52.9 | 150 | 0
outputs_002_001_low_slope/capacity_by_technology_002_001_low_slope.csv:Oahu | 2045 | 0 | 8 | 646.9754 | 3688.1129 | 0 | 0 | 0 | 0 | 301.172 | 113 | 1898.0063 | 250.288 | 1001.152 | 1102.7516 | 73 | 0 | 0 | 0 | 48.84 | 0 | 0 | 0 | 0 | 134.3 | 134.4 | 90 | 90 | 28 | 548.7921 | 150 | 329.7034 | 0 | 49.9 | 0 | 0 | 0 | 0 | 0 | 0 | 52.9 | 150 | 0
outputs_002_001_123_low_slope/capacity_by_technology_002_001_123_low_slope.csv:Oahu | 2045 | 0 | 8 | 598.5 | 3559.7837 | 0 | 0 | 0 | 0 | 301.172 | 113 | 1899.4875 | 250.288 | 1001.152 | 1245.242 | 73 | 0 | 0 | 0 | 48.84 | 0 | 0 | 0 | 0 | 134.3 | 134.4 | 90 | 90 | 28 | 572.7089 | 123 | 187.213 | 0 | 49.9 | 0 | 0 | 0 | 0 | 0 | 0 | 52.9 | 150 | 0